Dear Annette,
Dear Klaus,

as promised, here are the questions and parameters we need in order to develop a solid concept for the beamline and spectrometer. It would be extremely helpful if you could suggest 2–3 concrete experiments for BESSY III and address the points below regarding both the beamline and the spectrometer.

This will allow us to better differentiate the requirements and, if necessary, combine them into a coherent concept. Our goal is to avoid mixing “apples and oranges” – not every experiment requires the highest resolution; in some cases, higher flux with lower resolution may be more appropriate.

Regarding the hv² method, here is a paper showing its application:

https://journals.iucr.org/s/issues/2020/05/00/il5053/index.html

As references or competitors, we would like to highlight the following beamlines/spectrometers:

- ESRF ID32

- SLS ADRESS

- DLS I32

- Centurion RIXS @ NSLS-II

- 2D-RIXS @ Nano-Teraso

- Veritas RIXS @ MAX-IV

- RIXS @ NSRL in Hefei

Regarding the spectrometer, we need to know the following parameter/constrains etc. for a good first approach:

- Measurement principle (hv)² (2D-RIXS)?

- Energy range (eV):

- Flux regime in ph/s:

- Resolving power:

- Resolving power (combined BL+Spectrometer):

- Important absorption edges (now and in the future):
e.g.: OK-edge // min. Ehv range: 525 eV – 545 eV // min. E-feature size to resolve: 30 meV

- Acceptance angle:

- Scattering angle (range or a set of important angles):
by limiting the angles, we could build a larger spectrometer (depends on the available space)

- Energy window of the detector:

- Focus size on detector:

- Focus shape on detector (round, line, etc.):

Regarding the spectrometer, we need to know the following parameter/constrains etc.:

- Energy range (eV):

- Flux regime in ph/s (beamline):

- Resolving power:

- Focus size on sample:

- Focus shape on sample (round, line, etc.):

- To consider: smaller focus on sample for good RIXS mapping measurements or is it better to have lower divergence to be quicker in alignment (focus will be lager on sample)

If you have any questions, don’t hesitate to contact me.

Best

Sebastian